## NE1
Part Number | Type | Location
NTK605CA | Power Card 3x60A breakered | Shelf: 1, Slot: 43, NE Name: NE1
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 22, NE Name: NE1
NTK605CA | Power Card 3x60A breakered | Shelf: 1, Slot: 44, NE Name: NE1
NTK555FA | SP-2 Dual CPU | Shelf: 1, Slot: 41, NE Name: NE1
NTK607AA | Fan | Shelf: 1, Slot: 45, NE Name: NE1
NTK607AA | Fan | Shelf: 1, Slot: 46, NE Name: NE1
NTK538DZ | WLAi MOTR 4xQSFP28 | Shelf: 1, Slot: 25, NE Name: NE1
NTK552KA | XLA C-Band | Shelf: 1, Slot: 23, NE Name: NE1
NTK605MA | Access Panel | Shelf: 1, Slot: 47, NE Name: NE1
NTK539UA | 100G WL3 OCLD EnhPMD w/EDFA 1xOTU4 C-Band | Shelf: 1, Slot: 27, NE Name: NE1
NTK529BB | 10x10G MUX Multi-Protocol 10xXFP | Shelf: 1, Slot: 28, NE Name: NE1
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 2, NE Name: NE1
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 4, NE Name: NE1
NTK552KA | XLA C-Band | Shelf: 1, Slot: 3, NE Name: NE1
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 6, NE Name: NE1
NTK603AA | 6500 32-Slot Packet-Optical Shelf Assembly | Shelf: 1, Slot: N/A, NE Name: NE1
NTK504CA | Fiber Interconnect Module (FIM) Type 1 | Shelf: 1, Slot: 51, NE Name: NE1
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 33, NE Name: NE1
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 11, NE Name: NE1
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 31, NE Name: NE1
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 37, NE Name: NE1
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 15, NE Name: NE1
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 35, NE Name: NE1
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 13, NE Name: NE1
NTK552KA | XLA C-Band | Shelf: 1, Slot: 16, NE Name: NE1
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 17, NE Name: NE1

## NE2
Part Number | Type | Location
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 17, NE Name: NE2
NTK552KA | XLA C-Band | Shelf: 1, Slot: 16, NE Name: NE2
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 15, NE Name: NE2
NTK552KA | XLA C-Band | Shelf: 1, Slot: 36, NE Name: NE2
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 13, NE Name: NE2
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 35, NE Name: NE2
NTK607AA | Fan | Shelf: 1, Slot: 45, NE Name: NE2
NTK552KA | XLA C-Band | Shelf: 1, Slot: 23, NE Name: NE2
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 22, NE Name: NE2
NTK605CA | Power Card 3x60A breakered | Shelf: 1, Slot: 44, NE Name: NE2
NTK605CA | Power Card 3x60A breakered | Shelf: 1, Slot: 43, NE Name: NE2
NTK555FA | SP-2 Dual CPU | Shelf: 1, Slot: 41, NE Name: NE2
NTK607AA | Fan | Shelf: 1, Slot: 46, NE Name: NE2
NTK605MA | Access Panel | Shelf: 1, Slot: 47, NE Name: NE2
NTK603AA | 6500 32-Slot Packet-Optical Shelf Assembly | Shelf: 1, Slot: N/A, NE Name: NE2
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 6, NE Name: NE2
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 4, NE Name: NE2
NTK529BB | 10x10G MUX Multi-Protocol 10xXFP | Shelf: 1, Slot: 28, NE Name: NE2
NTK552KA | XLA C-Band | Shelf: 1, Slot: 3, NE Name: NE2
NTK539UA | 100G WL3 OCLD EnhPMD w/EDFA 1xOTU4 C-Band | Shelf: 1, Slot: 27, NE Name: NE2
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 2, NE Name: NE2
NTK538DZ | WLAi MOTR 4xQSFP28 | Shelf: 1, Slot: 25, NE Name: NE2
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 11, NE Name: NE2
NTK504CA | Fiber Interconnect Module (FIM) Type 1 | Shelf: 1, Slot: 51, NE Name: NE2

## NE3
Part Number | Type | Location
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 4, NE Name: NE3
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 2, NE Name: NE3
NTK552KA | XLA C-Band | Shelf: 1, Slot: 3, NE Name: NE3
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 6, NE Name: NE3
NTK539UA | 100G WL3 OCLD EnhPMD w/EDFA 1xOTU4 C-Band | Shelf: 1, Slot: 27, NE Name: NE3
NTK529BB | 10x10G MUX Multi-Protocol 10xXFP | Shelf: 1, Slot: 28, NE Name: NE3
NTK605CA | Power Card 3x60A breakered | Shelf: 1, Slot: 44, NE Name: NE3
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 22, NE Name: NE3
NTK607AA | Fan | Shelf: 1, Slot: 46, NE Name: NE3
NTK552KA | XLA C-Band | Shelf: 1, Slot: 23, NE Name: NE3
NTK607AA | Fan | Shelf: 1, Slot: 45, NE Name: NE3
NTK538DZ | WLAi MOTR 4xQSFP28 | Shelf: 1, Slot: 25, NE Name: NE3
NTK555FA | SP-2 Dual CPU | Shelf: 1, Slot: 41, NE Name: NE3
NTK605CA | Power Card 3x60A breakered | Shelf: 1, Slot: 43, NE Name: NE3
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 37, NE Name: NE3
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 15, NE Name: NE3
NTK552KA | XLA C-Band | Shelf: 1, Slot: 16, NE Name: NE3
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 17, NE Name: NE3
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 33, NE Name: NE3
NTK605MA | Access Panel | Shelf: 1, Slot: 47, NE Name: NE3
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 11, NE Name: NE3
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 13, NE Name: NE3
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 35, NE Name: NE3
NTK504CA | Fiber Interconnect Module (FIM) Type 1 | Shelf: 1, Slot: 51, NE Name: NE3
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 31, NE Name: NE3
NTK603AA | 6500 32-Slot Packet-Optical Shelf Assembly | Shelf: 1, Slot: N/A, NE Name: NE3

## NE4
Part Number | Type | Location
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 6, NE Name: NE4
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 4, NE Name: NE4
NTK555FA | SP-2 Dual CPU | Shelf: 1, Slot: 41, NE Name: NE4
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 2, NE Name: NE4
NTK605CA | Power Card 3x60A breakered | Shelf: 1, Slot: 43, NE Name: NE4
NTK552KA | XLA C-Band | Shelf: 1, Slot: 3, NE Name: NE4
NTK552KA | XLA C-Band | Shelf: 1, Slot: 23, NE Name: NE4
NTK605CA | Power Card 3x60A breakered | Shelf: 1, Slot: 44, NE Name: NE4
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 22, NE Name: NE4
NTK607AA | Fan | Shelf: 1, Slot: 46, NE Name: NE4
NTK605MA | Access Panel | Shelf: 1, Slot: 47, NE Name: NE4
NTK607AA | Fan | Shelf: 1, Slot: 45, NE Name: NE4
NTK603AA | 6500 32-Slot Packet-Optical Shelf Assembly | Shelf: 1, Slot: N/A, NE Name: NE4
NTK539UA | 100G WL3 OCLD EnhPMD w/EDFA 1xOTU4 C-Band | Shelf: 1, Slot: 25, NE Name: NE4
NTK539UA | 100G WL3 OCLD EnhPMD w/EDFA 1xOTU4 C-Band | Shelf: 1, Slot: 27, NE Name: NE4
NTK539UA | 100G WL3 OCLD EnhPMD w/EDFA 1xOTU4 C-Band | Shelf: 1, Slot: 26, NE Name: NE4
NTK539UA | 100G WL3 OCLD EnhPMD w/EDFA 1xOTU4 C-Band | Shelf: 1, Slot: 28, NE Name: NE4
NTK504CA | Fiber Interconnect Module (FIM) Type 1 | Shelf: 1, Slot: 51, NE Name: NE4
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 11, NE Name: NE4
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 13, NE Name: NE4
NTK552KA | XLA C-Band | Shelf: 1, Slot: 16, NE Name: NE4
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 15, NE Name: NE4

## NE5
Part Number | Type | Location
NTK605MA | Access Panel | Shelf: 1, Slot: 47, NE Name: NE5
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 6, NE Name: NE5
NTK504CA | Fiber Interconnect Module (FIM) Type 1 | Shelf: 1, Slot: 51, NE Name: NE5
NTK555FA | SP-2 Dual CPU | Shelf: 1, Slot: 41, NE Name: NE5
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 31, NE Name: NE5
NTK605CA | Power Card 3x60A breakered | Shelf: 1, Slot: 43, NE Name: NE5
NTK605CA | Power Card 3x60A breakered | Shelf: 1, Slot: 44, NE Name: NE5
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 33, NE Name: NE5
NTK603AA | 6500 32-Slot Packet-Optical Shelf Assembly | Shelf: 1, Slot: N/A, NE Name: NE5
NTK607AA | Fan | Shelf: 1, Slot: 46, NE Name: NE5
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 35, NE Name: NE5
NTK607AA | Fan | Shelf: 1, Slot: 45, NE Name: NE5
NTK538DZ | WLAi MOTR 4xQSFP28 | Shelf: 1, Slot: 25, NE Name: NE5
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 37, NE Name: NE5
NTK552JT | ESAM C-Band w/OSC 1xSFP 10/100 BT WSC | Shelf: 1, Slot: 2, NE Name: NE5
NTK539UA | 100G WL3 OCLD EnhPMD w/EDFA 1xOTU4 C-Band | Shelf: 1, Slot: 27, NE Name: NE5
NTK508HA | CCMD8x16 C-Band 1xCXM | Shelf: 1, Slot: 17, NE Name: NE5
NTK529BB | 10x10G MUX Multi-Protocol 10xXFP | Shelf: 1, Slot: 28, NE Name: NE5
NTK553MA | WSS Flex C-Band w/OPM 20x1 | Shelf: 1, Slot: 4, NE Name: NE5
NTK552KA | XLA C-Band | Shelf: 1, Slot: 3, NE Name: NE5